# ADDENDUM NO. 1

TO:	PLANS AND SPECIFICATIONS FOR STATE OF MISSOURI

Project Title

Project Title

City, MO

PROJECT No.:

Bid Opening Date is: 1:30 PM, WEEKDAY, MONTH DAY, 2026 (Not Changed)

Bidders are hereby informed that the Construction Plans and/or Specifications are modified as follows:

# SPECIFICATION CHANGES:  (Specification changes shall identify section number and full section title and shall be identified as an ADD, DELETE, REMOVE AND REPLACE or REVISE.  Please match format and layout below)

- Section 000107 – Professional Seals and Certifications

  - REMOVE AND REPLACE page in its entirety.

- Section 062023 – Interior Finish Carpentry

  - DELETE section in its entirety.

- Section 095113 – Acoustic Panel Ceilings

  - ADD paragraph 3.5-E (for C2 ceiling framing and suspension system)

E. Suspension Systems for 5/8” Gypsum Board Ceilings:

    - Products: Equal to the following:

      - Armstrong SHORTSPAN Drywall Framing and Suspension System

    - Face Dimension: 1 13/16” at 96” @ 16” O.C.

    - Structural Classification: Heavy Duty/Intermediate-duty system.

    - Section 102600 – Wall and Door Protection

      - REVISE Paragraph 2.2-A as follows:

        - Surface-Mounted, Metal Corner Guards “CG”: Fabricated as one piece from formed or extruded metal with formed edges; with 90-degree turn to match wall condition. Provide (8) eight full length corner guards. Location to be provided by Architect to be installed at lower level renovation spaces.

          - Equal to the following:

            - Construction Specialties - ACO-8

          - Material: Extruded aluminum, minimum 0.0625 inch (1.6 mm) thick, with clear anodic finish.

          - Wing Size: Nominal 2 by 2 inches

          - Height: 80 inches or as indicated on drawings, mounted 4 inches above finish floor.

          - Mounting: Adhesive

# DRAWING CHANGES:  (Drawing changes shall identify plan sheet number and shall be identified as an ADD, DELETE, REMOVE AND REPLACE or REVISE. Plan sheets or specific details of a plan sheet shall be attached to provide additional details of a change when needed.  Please match format and layout below.)

## SHEET DA201

  - REVISE Demolition Plan F1/DA201 to adjust selective demolition extents for new electrical circuiting.

  - REVISE Demolition Plan K1/DA201 to adjust extents of floor slab demolition to capture floor drains and tie-in locations.

## SHEET A101

  - REVISE CAD background to include furred out exterior walls

  - ADD detail 1/A101 for floor slab replacement requirements

  - REVISE Floor Plan Keynote #2 to be “System furniture provided by Owner, installed by contractor”

## SHEET A601

  - ADD details and data table to identify the custom painting locations and area coverage.

  - ADD details pertaining to Wall-applied Lettering Signage.

## SHEET A701

  - REVISE Restroom 101 C2 to include paint color P11

## SHEET A901

  - REVISE Room Finish Schedule and Finish Key legends related to C2 paint color, C3 & C4 sizing, and P10-P11 paint colors.

## SHEET EP102

  - REVISE keyed note #3 to clarify exact conduit path to basement

## SHEET EL101

  - REVISE CAD background to include furred out exterior walls

  - REVISE removed new lighting from Storage 109 and noted existing lighting to remain

## SHEET PW101

  - REVISE CAD background to include furred out exterior walls

# GENERAL COMMENTS: (General comments shall include the comments listed below. Additional comments shall be confirmed with the project manager. In general Q&As should not be included. Any question that can be answered based on information found in the Bid Docs should be answered directly to the contractor asking the question.)

- The Pre-Bid Meeting was held Month day, 2026, at XX:XX AM, followed by a walk-through of the site. The Pre-Bid Meeting sign-in sheet is attached.

- Bidders needing additional site inspection should contact Facility Contact at XXX.XXX.XXX to schedule a time if access to the facility is required.

- Please contact Contract Specialist, Contract Specialist, at Phone Number or contractspecialist.email@oa.mo.gov, for questions about bidding procedures, MBE\WBE\SDVE goals, and submittal requirements.

- The deadline for technical questions was WEEKDAY, MONTH DAY, 2026, at noon.

- Changes to, or clarification of, the bid documents are only made as issued in the addenda.

- All correspondence with respect to this project must include the State of Missouri project number as indicated above.

- Current Planholders list available online at: Update to reflect page from FMDC webpage

- Prospective Bidders contact American Document Solutions, 1400 Forum Blvd Suite 1C, Columbia MO 65201, 573-446-7768 to order official plans and specifications.

- All bids shall be submitted on the bid form without additional terms and conditions, modifications, or stipulations. Each space on the bid form shall be properly filled including a bid amount for the alternate. Failure to do so will result in rejection of the bid.

- MBE/WBE/SDVE participation requirements can be found in DIVISION 00. The MBE/WBE/SDVE participation goals are 10%/10%/3%, respectively. Only certified firms as of the bid opening date can be used to satisfy the MBE/WBE/SDVE par-ticipation goals for this project. If a bidder is unable to meet a participation goal, a Good Faith Effort Determination Form must be completed. Failure to complete this process will result in rejection of the bid.

- The Contractor shall pay not less than the prevailing hourly rate of wages for work of a similar character in the locality in which the work is performed, as determined by the Missouri Department of Labor and Industrial Relations. Bidders are to adhere to Prevailing Wage Hourly Rate of Wages, and the Department of Labor and Industrial Relations can be contacted to determine the applicable wage rate for the work on this project.

# ATTACHMENTS:

- Pre-bid Meeting Sign-In Sheet

- List individual attachments

MONTH DAY, 2026 *issued date

END ADDENDUM NO. 1

*The addendum should only include changes to the plans and specifications.

Try to make drawing changes 8-1/2 x 11 if possible.

The addendum need to be issued a week before bid opening.*