SECTION 02625 - EROSION CONTROL/STORM WATER POLLUTION PREVENTION

GENERAL

SECTION INCLUDES

Installation of temporary water pollution control measures to prevent discharge of pollutants such as chemicals, fuels, lubricants, bitumen, raw sewage, or other harmful material from the project.

B.	Other related documents.

GENERAL

The Contractor shall manage his operations to control water pollution in accordance with this specification and applicable State regulations.  Construction of permanent drainage facilities and other contract work, contributing to control of erosion, shall be scheduled at the earliest practicable time.

The Contractor shall furnish, install, maintain, and remove temporary erosion control measures. The Contractor shall prevent silt or polluted storm water discharge from the site.

The Owner’s Representative may require installation of additional erosion control facilities, by the Contractor, if in the sole opinion of the Owner’s Representative, the Contractor’s efforts are inadequate.

DEFINITIONS

General Permit:  The General Permit for storm water discharges associated with construction activity (Land Disturbance General Permit No. MO-R100038) issued to FMDC as a blanket permit by the Missouri Department of Natural Resources, Water Pollution Program.

Storm Water Pollution Prevention Plan (SWPPP):  A plan required by the General Permit that includes site map(s), an identification of construction/contractor activities that could cause pollutants in the storm water, and a description of measures or practices to control these pollutants.

Best Management Practice (BMP):  Any program, technology, process, siting criteria, operating method, measure, or device that controls, prevents, removes, or reduces pollution.

Temporary Berm:  A temporary ridge of compacted soil, with or without a shallow ditch, constructed at the top of slopes or transverse to the centerline of a slope.  The berm diverts storm runoff to temporary outlets to discharge water with minimal erosion.

Temporary Slope Drain:  A temporary facility used to carry water down a slope.

Ditch Check:  An obstruction placed at frequent intervals across ditches, creating small ponds to cause sediment to settle and be contained.

Sediment Basin:  An excavated or dammed storage area to trap and store sediment and prevent the discharge of silt.

Temporary Seeding and Mulching:  Placement of a quick ground cover to reduce erosion in areas expected to be re-disturbed.

Straw Bales:  Standard agricultural bales used to filter the flow of water, trap, deposit sediment, and/or divert water.

Silt Fence:  A geotextile barrier fence to contain sediment by removing suspended particles from water passing through the fence.

Temporary Pipe:  Conduit utilized to carry water under haul roads, silt fences, etc., and prevent equipment from direct contact with water when crossing an active or intermittent stream.

Sediment Removal:  Removal of accumulated sediment to restore the efficiency of sediment control features.

SUBMITTALS

The Contractor shall submit his proposed “Erosion Control Plan” for review and approval by the Owner’s Representative.  Approval of the plan does not relieve the Contractor of his contractual responsibility to prevent the discharge of pollutants into the receiving drainage ways.

The Contractor shall review the Storm Water Pollution Prevention Plan (SWPPP) provided by the Designer, make appropriate field corrections to the document, and submit final corrected copies of the SWPPP to the Owner and facility.

RELATED SECTIONS

Section 02921 – Surface Restoration

PRODUCTS

MATERIALS

Temporary slope drains: Stone, concrete or asphalt gutters, half-round pipe, metal pipe, plastic pipe or flexible rubber pipe.

Ditch Checks:

Rock ditch checks:  2" to 3" clean gravel or limestone.

Straw bale ditch checks:  Rectangular wheat straw bales in good condition.  Other foliage may be substituted for straw in accordance with MoDOT 802.2.1.

Silt fence ditch checks:  Geotextile meeting the requirements of this specification.

Riprap for Temporary Erosion Control:  Type 1 Rock Blanket conforming to MoDOT 611.32.

Pipe:  Corrugated metal (16 Ga.) or ADS N12 Corrugated Plastic.

Temporary Seeding:

December 1 to March 1: 50 lbs oats/acre.

March 1 to December 1: 50 lbs cereal rye or wheat.

Mulch shall be wheat straw.

Wire Supported and Self Supporting Silt Fence:

Geotextile Fabric

Fibers used in geotextiles shall consist of longchain synthetic polymers, composed of at least 85 percent by weight polyolefins, polyesters, or polyamides.  They shall be formed into a network such that the filaments or yarns retain dimensional stability relative to each other, including selvages.

The geotextile shall be free of any treatment or coating which might adversely alter its physical properties after installation.

Geotextile shall be furnished in 36" width rolls.

Geotextile rolls shall be furnished with suitable wrapping for protection against moisture and extended ultraviolet exposure.

Each roll shall be labeled or tagged to provide product identification sufficient for inventory.

Rolls shall be stored in a manner, which protects them from the elements.

Geotextile shall conform to the following:

| TABLE 1 PHYSICAL REQUIREMENTS1 FOR TEMPORARY SILT FENCE GEOTEXTILES |
| --- |
| Property | Test Method | Wire Fence Supported Requirements | Self Supported Requirements |
| Tensile Strength, Lbs. | ASTM D4632 | 90 Minimum2 | 90 Minimum2 |
| Elongation at 50% Minimum |  |  |  |
| Tensile Strength (45 Lbs.) | ASTM D4632 | N/A | 50 Maximum |
| Filtering Efficiency, % | VTM-513 | 75 | 75 |
| Flow Rate gal/ft/min | VTM-513 | 0.3 | 0.3 |
| Ultraviolet Degradation at 500 hrs. | ASTM D4355 | Minimum 70% Strength Retained | Minimum 70% Strength Retained |

Notes:	1.	All numerical values represent minimum average roll value.

- When tested in any principal direction.

- Virginia DOT test method.

Posts:  Wood, steel or synthetic posts may be used.  Posts shall have a minimum length of 36" plus embedment depth (24” min.).  Posts shall have sufficient strength to resist damage during installation and to support applied loads.

Support Fence:  Wire or other support fence shall be at least 24" high and strong enough to support applied loads.

Prefabricated Fence:  Prefabricated fence systems may be used provided they meet all of the above material requirements.

CERTIFICATION AND SAMPLING:

The Contractor shall furnish a manufacturer’s certification, stating the material conforms to the requirements of these specifications.

The certification shall include, or have attached, typical results of tests for the specified properties, representative of the materials supplied.

The Owner’s Representative reserves the right to sample and test any material offered for use.

EXECUTION

GENERAL REQUIREMENTS

The Owner’s Representative may limit the surface area of erodible earth material exposed by clearing and grubbing, excavation, borrow, or fill operations.

The Owner’s Representative may direct the Contractor to provide immediate permanent or temporary pollution control measures to prevent contamination of adjacent streams, other watercourses, lakes, ponds, or other areas of water impoundment.  Work may involve the construction of temporary berms, dikes, dams, sediment basins, slope drains, use of temporary mulches, seeding or other control devices or methods to control erosion.

The Contractor shall incorporate permanent erosion control features at the earliest practicable time.

The Contractor at no additional cost shall provide temporary pollution control measures needed to control erosion during normal construction practices to the Owner.

Contractor shall designate trained and knowledgable personnel to coordinate all SWPPP activities, and identify these personnel to the Owner’s Representative during construction.  Missouri Department of Natural Resources offers training classes in Erosion Control free of charge in Jefferson City.  Contact for training:  David Goggins at (573) 751-2556.

The SWPPP is a living document.  As the conditions of the site changes, the SWPPP should be updated by the Contractor.

The SWPPP is subject to random inspection by the Owner.  The SWPPP should be kept up to date by the Contractor and available for inspection at any time.

If Contractor determines that any BMP should need modification, the changes shall be dated and documented, and all necessary field changes performed.

LIMITATION OF AREA DISTURBED:

The Contractor’s operations shall be scheduled to install permanent erosion control features immediately after clearing and grubbing, and grading.

The surface area of erodible earth material exposed at one time by clearing and grubbing, excavating, fill, or borrow shall not exceed 200,000 square feet without written approval of the Owner’s Representative.

The Owner’s Representative may limit the area of clearing and grubbing, excavation, borrow, and embankment operations commensurate with the Contractor’s capability and progress in completing the finish grading, mulching, seeding, and other such permanent pollution control measures current.

The Contractor shall respond to seasonal variations.  If required by weather, temporary erosion control measures shall be taken immediately.

RIVERS, STREAMS, AND IMPOUNDMENTS:

Construction operations in rivers, streams, and impoundments shall be restricted to areas, which must be entered for the construction of temporary or permanent structures.

Rivers, streams, and impoundments shall be promptly cleared of falsework, piling, debris, or other obstructions as soon as practical.

Frequent fording of live streams with construction equipment will not be permitted.

Temporary bridges or other structures shall be used when the Contractor’s operations include cycling of equipment across streams, rivers, or impoundments.

Mechanized equipment shall not be operated in flowing streams except as required to construct channel changes and temporary or permanent structures.

BORROW AND WASTE AREAS

Material pits other than commercially operated sources and material spoil areas shall be subject to pollution control measures of this specification.  An offsite location does not relieve the Contractor of his contractual obligation to prevent the introduction of silt or other pollutants into receiving waterways.

CONFLICT WITH FEDERAL, STATE OR LOCAL LAWS, RULES OR REGULATIONS

In case of conflict between these requirements and pollution control laws, rules, or regulations or other Federal, State or local agencies, the more restrictive laws, rules, or regulations shall apply.

TEMPORARY BERMS

Temporary berms shall be constructed at the top of newly constructed slopes and / or transverse to grade to divert runoff and prevent erosion until permanent controls are installed and / or slopes are stabilized.  Two types of temporary berms will be utilized under conditions listed below:

Type “A” Berm: At the end of each day’s operations on embankments.

Type “B” Berm:  At shut down of embankment operations for the winter season or discontinuation of work at the direction of, or with concurrence of the Owner’s Representative.

Interceptor berms transverse to centerline may be used when temporary berms are installed on grades in excess of 1 percent and at locations where water is to be carried down the fill slope by temporary or permanent slope drains.

Construction Requirements:

Type A Berms shall be constructed to the approximate dimensions indicated on the drawings.  Berms shall be machine compacted with a minimum of one pass over the entire width with a bulldozer tread, grader wheel, or other approved method.

Type “B” Berms shall be constructed to the approximate dimensions indicated on the drawings.  These berms shall be machine compacted with a minimum of three passes over the entire width with a bulldozer tread, grader wheel, or other approved method.

Type “A” and Type “B” Berms must drain to a compacted outlet at a slope drain.  The top width of these berms may be wider and the side slopes flatter on transverse berms to allow equipment to pass over these berms with a minimal disruption.

TEMPORARY SLOPE DRAINS

General:

Temporary slope drains are required to concentrate water flowing down a slope prior to installation of permanent facilities.  Slope drains shall be placed at approximately 500-foot intervals or as directed by the Owner’s Representative.

General Requirements

The Contractor shall install a temporary silt fence in locations shown on the drawings, around inlets that accept flow carrying silt, and other locations necessary to prevent the discharge of silt from the site.

Installation shall conform to the drawing detail.

Fence construction shall be adequate to handle the stress from hydraulic and sediment loading.

Construction Requirements:

Temporary slope drains shall be anchored to prevent disruption by the force of the water flowing in the drain.

The inlet end shall be constructed to channel water into the drain.

The outlet ends of these temporary slope drains shall have some means of dissipating the energy of this water to reduce erosion downstream.

Unless otherwise directed by the Owner’s Representative, temporary slope drains shall be removed when no longer necessary and the site restored to match the surroundings.

DITCH CHECKS

General:

Rock ditch checks may be used on ditches with grades of 4 percent or less.

Straw bale ditch checks may be used on all ditches.

The silt fence fabric may be eliminated for grades of 2 percent or less.

Silt fence ditch check may be used on all ditches.

A straw bale ditch check or a silt fence ditch check may be used in lieu of a sediment basin for drainage areas less than two acres.  The basin shall have a volume of 1,815 CF per acre of contributing drainage area.

Construction Requirements:

Construct rock ditch checks in accordance with the drawing detail.

Achieve complete coverage of the ditch or swale and insure the center of the check is lower than the edges.

Construct straw bale ditch checks in accordance with the drawing detail.

Construct silt fence ditch checks in accordance with the drawing detail.

Maintenance:

Inspect ditch checks for sediment accumulation after each rainfall.

Sediment shall be removed when it reaches one-half of the original height.

Regular inspections shall insure that the center of a rock check is lower than the edges. Correct erosion caused by high flows around the edges of the check immediately.

SEDIMENT BASIN

General

Sediment basins are used for drainage areas of two (2) to five (5) acres or for a roadway ditch exceeding 1,000 consecutive feet in length.  Break larger drainage areas or longer ditches into smaller areas.

Construction Requirements:

The area where a sediment basin is to be constructed shall be cleared of vegetation.

Construct the inlets of sediment basins with a wide cross-section and a minimum grade to prevent turbulence and allow deposition of soil particles.

The minimum depth is 2'; the maximum depth is 6'.

The minimum width is 5'; the maximum width is 20'.

The minimum length is 25'; the maximum length is 200'.

The minimum volume shall be 1,815 CF per acre of drainage area.

Sediment basins shall remain in service until all disturbed areas draining into the structure have been stabilized.

When use of sediment basin is discontinued, backfill all excavations and compact fill.  Fill material shall be removed and the existing ground restored to the original or plan grade.

Maintenance

When the depth of sediment reaches 1/3 of the depth of structure in any part of the pool, all accumulation shall be removed.

Removed sediment shall be disposed of in locations that the sediment will not erode into the construction areas or into natural waterways.  The same holds true for excavated material removed during construction of the sediment basin.

TEMPORARY SEEDING AND MULCHING

General

This item is applicable to all projects.

Seeding and/or mulching shall be a continuous operation on all cut slopes, fill slopes, and borrow pits during the construction process.  All disturbed areas shall be seeded and mulched within five (5) working days after the last construction activity in all locations where necessary to eliminate erosion.

Construction Requirements:

Permanent seeding and mulching following temporary seeding will be performed during the favorable seeding seasons only.

Temporary seeding mixtures and planting season:

December 1 to March 1:		50 lbs. oat grain per acre

March 1 to December 1:		50 lbs. (cereal rye or wheat) per acre

Temporary mulch, fertilizer, and lime for seeding:

Fertilizer and mulch for temporary seed mixtures shall be applied in accordance with Section 02921.

Fertilizer shall be applied at the rate specified for permanent seeding.

Lime will not be required for temporary seeding.

STRAW BALES

General

Install at the bottom of embankment slopes less than 10' high to divert runoff from sheet flow and intercept some of the sediment in the sheet flow.

Install as ditch checks in small ditches and drainage areas.

Install on the lower side of cleared areas to catch sediment from sheet flow.

Construction Requirements:

Bales of straw shall be utilized to control erosion, trap sediment, and divert runoff.

Bales must be adequately braced from behind.

SILT FENCE

General

Install along the toe of fills over 10' in height, along the right-of-way line, parallel to streams or around an inlet to prevent sediment from entering the pipe system.

General Requirements:

The Contractor shall install a temporary silt fence in locations shown on the drawings, around inlets that accept flows containing silt, and other locations necessary to prevent the discharge of silt from the site.

Installation shall conform to the detail at the end of this section.

Fence construction shall be adequate to handle the stress from hydraulic and sediment loading.

Installation

Geotextile at the bottom of the fence shall be buried as indicated on the detail.

The trench shall be backfilled and the soil compacted over the geotextile.  The geotextile shall be spliced together as indicated on the detail.

Post Installation

Post spacing shall not exceed 8' for wire support fence installation or 5' for self supported installations.

Posts shall be driven a minimum of 24" into the ground.  Where rock is encountered, posts shall be installed in a manner approved by the Owner’s Representative.

Closer spacing, greater embedment depth and/or wider posts shall be used in low areas, soft, or swampy ground to ensure adequate resistance to applied loads.

When support fence is used, the mesh shall be fastened securely to the upstream side of the post.

The mesh shall extend into the trench a minimum of 2" and extend a maximum of 36" above the original ground surface.

When self-supported fence is used, the geotextile shall be securely fastened to fence posts.

Maintenance

The Contractor shall maintain the integrity of silt fences as long as they are necessary to contain sediment runoff.

The Contractor shall inspect all temporary silt fences immediately after each rainfall and at least daily, during prolonged rainfall.

The Contractor shall immediately correct deficiencies.

The Contractor shall make a daily review of the location of silt fences in areas where construction activities have changed the natural contour and drainage runoff to ensure that the silt fences are properly located for effectiveness.

Where a single fence is not adequate to handle the volume of silt or flows are not completely intercepted, additional silt fences shall be installed.

The Contractor shall remove and dispose of sediment deposits when the deposit approaches one-half the height of the fence.

The silt fence shall remain in place until the upstream surface is stabilized.  Upon removal, the Contractor shall remove the silt fence, dispose of excess silt, and restore the disturbed area in accordance with Section 02921.

TEMPORARY PIPE

General:

The Contractor shall install temporary pipes and fill at locations, to be crossed by the Contractor’s equipment, which carry a concentrated flow during rain events.

Construction Requirements:

All temporary pipes shall be installed in the same manner as permanent pipe is installed on the project to assure that the water does not cause erosion around the pipe.

Material to backfill the pipe should be placed in 6" lifts and mechanically compacted.  Compaction testing will not be required.

SEDIMENT REMOVAL

General

Sediment deposits shall be removed when:

The deposits reach approximately one-half the height of a ditch check, straw bale barrier or silt fence.

The sediments have reduced the ponded volume of sediment basins to one-third of the original volume.

Requested by the Owner’s Representative.

Sediment removed from erosion control features shall be deposited in a location where it will not erode into construction areas or watercourses.

END OF SECTION 02625